## QTO
|  | ID: | 2509
BIDDER NAME:
S# | DWG # | DETAIL # | CSI NO | DESCRIPTION | QTY. | Calc. | UNIT | LABOR |  |  | MATERIAL ($Per Unit) | EQUIPMENT ($Per Unit) | COMPOSITE RATE/UNIT | TOTAL COST
[8 empty] | MHrs/ Unit | $/Hour | ($Per Unit)
|  |  | 10000 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION | 1 |  | LS
2 |  |  |  | BOND & INSURANCE | 1 |  | LS
3 |  |  |  | SUPERVISION | 1 |  | LS
4 |  |  |  | SUBMITTALS & SAMPLES | 1 |  | LS
5 |  |  |  | TEMPORARY FACILITIES & CONTROLS | 1 |  | LS
6 |  |  |  | PROJECT SCHEDULE | 1 |  | LS
7 |  |  |  | CLOSEOUT PROCEDURES | 1 |  | LS
8 |  |  |  | PERMITS | 1 |  | LS
Subtotal
|  |  | 20000 | DIVISION 02 - EXISTING CONDITIONS
|  |  | 20700 | SELECTIVE REMOVALS AND DEMOLITION
9 | A-4.1 TO A-6.0 |  |  | Remove Existing Floor | 855 | 852.24 | SF
10 |  |  |  | Remove Existing GWB Ceiling | 855 | 852.24 | SF
11 |  |  |  | Remove Existing Stone Hearth | 50 | 45.51 | SF
12 |  |  |  | Remove Existing (3"THK) Concrete Crawl Space Access | 6 | 5.17 | SF
13 |  |  |  | Remove Existing Vanity Countertop | 23 | 22.7 | SF
14 |  |  |  | Remove Existing Countertop | 30 | 29.88 | SF
15 |  |  |  | Patch & Repair Existing Floor Finish | 745 | 742.05 | SF
16 |  |  |  | Patch & Repair Existing GWB Celing Finish | 745 | 742.05 | SF
17 |  |  |  | Remove Existing GYP Wall Board. | 190 | 188.4 | SF
18 |  |  |  | Remove Existing Exterior GWB Wall. | 285 | 281.52 | SF
19 |  |  |  | Remove Existing Interior GWB Wall. | 920 | 918 | SF
20 |  |  |  | Remove Exting Concrete Wall (6"THK) | 23 | 22.35 | SF
21 |  |  |  | Remove Exting Concrete Footing | 8 | 7.98 | LF
22 |  |  |  | Remove Existing Base | 395 | 388.62 | LF
23 |  |  |  | Remove Existing (1'W) Shelve | 11 | 10.56 | LF
24 |  |  |  | Remove Existing Rod & Shelve | 6 | 5.96 | LF
25 |  |  |  | Remove Existing Fire Place | 2 | 2 | EA
26 |  |  |  | Remove Existing Window (6'-3"Wx4'-6"H) | 1 | 1 | EA
27 |  |  |  | Remove Existing Window (3'-2"Wx3'-0"H) | 1 | 1 | EA
28 |  |  |  | Remove Existing Window (2'-8"Wx2'-3"H) | 1 | 1 | EA
29 |  |  |  | Remove Existing Window (1'-3"Wx2'-2"H) | 1 | 1 | EA
30 |  |  |  | Remove Existing Window (1'-3"Wx1'-6"H) | 1 | 1 | EA
31 |  |  |  | Remove Existing Door & Frame (2'-8"Wx7'-0"H) | 4 | 4 | EA
32 |  |  |  | Remove Existing Door & Frame (2'-4"Wx7'-0"H) | 1 | 1 | EA
33 |  |  |  | Remove Existing Sliding Glass Door (8'-0"Wx6'-8"H) | 1 | 1 | EA
34 |  |  |  | Remove Existing Sliding Glass Door (12'-0"Wx6'-8"H) | 1 | 1 | EA
35 |  |  |  | Remove Existing Sliding Glass Door (10'-0"Wx6'-8"H) | 1 | 1 | EA
36 |  |  |  | Remove Existing Wall Cabinet (8'9"Wx1'Dx2'6"H) | 1 | 1 | EA
37 |  |  |  | Remove Existing Wall Cabinet (7'2"Wx1'Dx2'6"H) | 1 | 1 | EA
38 |  |  |  | Remove Existing Vanity Base Cabinet (6'Wx1'8"Dx3'H) | 1 | 1 | EA
39 |  |  |  | Remove Existing Vanity Base Cabinet (4'4"Wx2'Dx3'H) | 1 | 1 | EA
40 |  |  |  | Remove Existing Vanity Base Cabinet (1'1"Wx1'8"Dx3'H) | 1 | 1 | EA
41 |  |  |  | Remove Existing Base Cabinet (6'9"Wx2'Dx2'10"H) | 1 | 1 | EA
42 |  |  |  | Remove Existing Base Cabinet (6'5"Wx2'Dx2'10"H) | 1 | 1 | EA
43 |  |  |  | Remove Existing (36"L) Grab Bar | 1 | 1 | EA
44 |  |  |  | Remove Existing Toilet Tissue Dispenser | 1 | 1 | EA
45 |  |  |  | Remove Existing Soap Dispenser | 1 | 1 | EA
46 |  |  |  | Remove Existing (2'6"x3'x6") Table | 1 | 1 | EA
47 | A-4.1 TO A-6.0 |  |  | Remove Existing Receptacle | 13 | 13 | EA
48 |  |  |  | Remove Existing Switches | 7 | 7 | EA
49 |  |  |  | Remove Existing Light Fixture | 24 | 24 | EA
50 |  |  |  | Remove existing water closet | 1 | 1 | EA
51 |  |  |  | Remove existing Lavatory | 1 | 1 | EA
52 |  |  |  | Remove existing Shower | 1 | 1 | EA
53 |  |  |  | Remove existing kitchen sink | 1 | 1 | EA
54 |  |  |  | Remove existing Kitchen Appliances | 4 | 4 | EA
55 |  |  |  | Remove existing Kitchen Hood | 1 | 1 | EA
56 |  |  |  | Remove existing Exhaust fan. | 1 | 1 | EA
57 |  |  |  | Remove existing Wiring & Conduit | 1 |  | LS
58 |  |  |  | Remove existing Plumbing Piping | 1 |  | LS
Subtotal
|  |  | 22000 | EARTHWORK
59 | S2.1 |  |  | Footing excavation. | 21.2963 | 570.48 | CY
60 |  |  |  | Footing backfill. | 13.3333 | 356.39 | CY
61 |  |  |  | Surplus export material. | 7.963 |  | CY
62 | S2.1 |  |  | (3/4") Gravel. | 0.92593 | 24.3956 | CY
63 |  |  |  | Filter cloth.. | 40 | 36.63 | SF
64 |  |  |  | (4" DIA) Drain pipe. | 55 | 55 | LF
Subtotal
|  |  | 30000 | DIVISION 03 - CONCRETE
|  |  | 33000 | CAST IN PLACE CONCRETE
| S2.1 |  |  | (1'Wx6"H) CONCRETE FOOTING
65 |  |  |  | Compaction of sub-grade. | 85 | 83.115 | SF
66 |  |  |  | Formwork. | 56 | 55.41 | SF
67 |  |  |  | Rebar's (Grade 60) | 45 | 44.8 | LB
68 |  |  |  | Epoxy Coated Rebar's #4 (Grade 60) | 6 | 5.344 | LB
69 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 28 | 27.705 | CF
| S2.1 |  |  | (1'Wx1'H) CONCRETE FOOTING
70 |  |  |  | Compaction of sub-grade. | 20 | 18.945 | SF
71 |  |  |  | Formwork. | 26 | 25.26 | SF
72 |  |  |  | Rebar's (Grade 60) | 21 | 20.8 | LB
73 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 13 | 12.63 | CF
| S2.1 |  |  | (1'Wx2'6"H) CONCRETE FOOTING
74 |  |  |  | Compaction of sub-grade. | 5 | 4.515 | SF
75 |  |  |  | Formwork. | 15 | 15.05 | SF
76 |  |  |  | Rebar's (Grade 60) | 15 | 12.8 | LB
77 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 8 | 7.525 | CF
| S2.1 |  |  | CONCRETE STEM WALL
78 |  |  |  | Formwork. | 333 | 332.46 | SF
79 |  |  |  | Rebar's (Grade 60) | 190 | 186.75 | LB
80 |  |  |  | Epoxy Coated Rebar's #4 (Grade 60) | 6 | 5.344 | LB
81 |  |  |  | (6" THK) Concrete wall. (f'c = 3000 PSI) | 83 | 83.115 | CF
| S2.1 |  |  | SLAB ON GRADE
82 |  |  |  | Compaction of sub-grade. | 5 | 5 | SF
83 |  |  |  | (5" THK) Slab on grade w/ CIP 6x6 W1.4xW1.4 WWF (f'c = 3000 PSI) | 5 | 5 | SF
| S2.1 |  |  | SLAB ON GRADE
84 |  |  |  | Compaction of sub-grade. | 245 | 241.96 | SF
85 |  |  |  | (4") Compacted fill. | 4.0425 | 241.96 | TN
86 |  |  |  | (6 MIL) Vapor barrier. | 245 | 241.96 | SF
87 |  |  |  | Rebar's (Grade 60) | 295 | 294 | LB
88 |  |  |  | (5" THK) Slab on grade. (f'c = 3000 PSI) | 245 | 241.96 | SF
| S2.1 |  |  | CONCRETE STAIR & STEPS
89 |  |  |  | Compaction of sub-grade. | 60 | 55.91 | SF
90 |  |  |  | (4") Compacted fill. | 2 | 55.91 | TN
91 |  |  |  | (6 MIL) Vapor barrier. | 60 | 55.91 | SF
92 |  |  |  | Rebar's (Grade 60) | 200 | 195 | LB
93 |  |  |  | (6" THK) Concrete stair steps. (f'c = 3000 PSI) | 60 | 55.91 | CF
Subtotal
|  |  | 50000 | DIVISION 05 - METAL
|  |  | 55000 | METAL FABRICATIONS
94 |  |  |  | ALUM. Grate. | 7 | 6.31 | SF
95 | S2.1 |  |  | (2'4"Wx2'H) Access Panel w/ 1/4"x1/4" Wire Mesh. | 1 | 1 | EA
Subtotal
|  |  | 60000 | DIVISION 06 - WOOD, PLASTIC AND COMPOSITES
|  |  | 61053 | WOOD FRAMING
96 | S2.1 & S2.2 |  |  | (4x4) P.T Wood Post. (5 EA) | 41 | 40.83 | LF
97 |  |  |  | (4x6) P.T Wood Post. (4 EA) | 33 | 32.664 | LF
98 |  |  |  | (2x4) P.T Trimmer. (2 EA) | 4 | 4 | LF
99 |  |  |  | (2x6) P.T Mud Sill Plate. | 50 | 47.62 | LF
100 |  |  |  | (2x4) Bottom plate. | 40 | 37.14 | LF
101 |  |  |  | (2x4) Blocking. | 100 | 98.34 | LF
102 |  |  |  | (2x6) Blocking. | 100 | 98.34 | LF
103 |  |  |  | (2x6) Wood Beam. | 50 | 48.08 | LF
104 |  |  |  | (4x6) Header beam. | 10 | 7.19 | LF
105 |  |  |  | (4x8) Header beam. | 25 | 22.83 | LF
106 |  |  |  | (4x10) Header beam. | 35 | 33.13 | LF
107 |  |  |  | (4x12) Header beam. | 20 | 16.28 | LF
108 |  |  |  | (6x12) Header beam. | 35 | 32.58 | LF
109 |  |  |  | (2x6) Floor Joists. | 170 | 169.54 | LF
110 |  |  |  | (2x6) Ceiling Joists. | 165 | 164.33 | LF
111 |  |  |  | (2x6) Rim Joists. | 50 | 48.5 | LF
112 |  |  |  | (5/8" DIAx9"H) Anchor bolt. | 25 | 24.81 | EA
113 |  |  |  | SIMPSON HDU5 | 4 | 4 | EA
114 |  |  |  | SIMPSON U Hanger. | 23 | 23 | EA
115 |  |  |  | SIMPSON U26 Hanger. | 25 | 25 | EA
116 |  |  |  | SIMSPON A35 | 50 | 50 | EA
|  |  | 61000 | ROUGH CARPENTRY
117 | S2.1 & S2.2 |  |  | (3/4") T&G Plywood subfloor sheathing. | 225 | 223.84 | SF
|  |  | 64100 | ARCHITECTURAL WOOD CASEWORK
118 | A-4.1 TO A-6.0 |  |  | (9'8"Wx2'Dx2'10"H) Base cabinet | 1 | 1 | EA
119 |  |  |  | (4'7"Wx2'Dx2'10"H) Base cabinet | 1 | 1 | EA
120 |  |  |  | (5'5"Wx2'Dx3'H) Vanity Base Cabinet | 1 | 1 | EA
121 |  |  |  | (2'Wx1'Dx2'6"H) Wall Cabinet | 1 | 1 | EA
122 |  |  |  | (14'10"Wx1'Dx2'6"H) Wall Cabinet | 1 | 1 | EA
123 |  |  |  | (9"Wx1'Dx2'6"H) Wall Cabinet | 1 | 1 | EA
124 |  |  |  | (10"W) Shelve | 5 | 4.72 | LF
125 |  |  |  | (1'8"W) Shelve | 22 | 20.77 | LF
Subtotal
|  |  | 70000 | DIVISION 07 - THERMAL AND MOISTURE PROTECTION
| A-4.1 TO A-6.0 |  |  | FLOOR / CEILING INSULATION
126 |  |  |  | (6" THK) R-19 Floor Insulation. | 225 | 223.84 | SF
127 |  |  |  | (6" THK) R-30 Floor Insulation. | 230 | 229.5 | SF
| A-4.1 TO A-6.0 |  |  | Waterproofing membrane. | 170 | 166.23 | SF
129 |  |  |  | (1'6"H) 26 GA. Flashing. | 10 | 8.38 | LF
Subtotal
|  |  | 80000 | DIVISION 08 - OPENING
130 | A-4.1 TO A-6.0 |  |  | (12'-0"Wx6'-8"H) Siliding Temperd Glass Door | 1 | 1 | EA
131 |  |  |  | (7'-4"Wx6'-8"H) Hollow Metal Temperd Glass Welded Door | 1 | 1 | EA
132 |  |  |  | (5'-3"Wx4'-1"H) Casement Window | 3 | 3 | EA
133 |  |  |  | (4'-0"Wx3'-2"H) Casement Temperd Window | 1 | 1 | EA
134 |  |  |  | (6'-3"Wx2'-3"H) Casement Window | 1 | 1 | EA
135 |  |  |  | (2'10"x3'10") Attic Access | 2 | 2 | EA
136 |  |  |  | (3'-0"Wx6'-8"H) Wrought Iron Door | 1 | 1 | EA
137 |  |  |  | (3'-0"Wx6'-8"H) Fire Rated Metal Door | 1 | 1 | EA
|  |  | 82100 | WOOD DOORS
138 | A-4.1 TO A-6.0 |  |  | (2'-8"Wx6'-8"H) Solid Core Wood Door & Frame | 2 | 2 | EA
139 |  |  |  | (2'-8"Wx6'-8"H) Hollow Core Wood Door & Frame | 2 | 2 | EA
140 |  |  |  | (2'-8"Wx6'-8"H) Factory Finish Door | 1 | 1 | EA
141 |  |  |  | (3'-0"Wx6'-8"H) Solid Core Wood Door & Frame | 1 | 1 | EA
|  |  |  | (12'-0"Wx6'-8"H) Stain Grade Wood Door & Frame | 1 | 1 | EA
143 |  |  |  | (8'-0"Wx6'-8"H) Stain Grade Wood Door & Frame | 1 | 1 | EA
|  |  | 87100 | FINISH HARDWARE
144 | A-4.1 TO A-6.0 |  |  | Door Hardware. | 19 | 19 | SET
Subtotal
|  |  | 90000 | DIVISION 09 - FINISHES
145 | A-4.1 TO A-6.0 |  |  | Wood Batten Siding | 495 | 490.9 | SF
|  |  | 92600 | GYPSUM BOARD ASSEMBLIES
| A-4.1 TO A-6.0 |  |  | GWB CEILING
146 |  |  |  | (5/8", 1-Layer) GWB Ceiling. | 1155 | 1152.06 | SF
| A-4.1 TO A-6.0 |  |  | (2x6) GWB INTERIOR WALL (126 LF)
147 |  |  |  | (2x6) Wood studs @ 16" O.C | 785 | 780.7811 | LF
148 |  |  |  | (6") Batt Insulation. | 1030 | 1029.8959 | SF
149 |  |  |  | (5/8", 1-Layer) Gyp. Bd. both side. | 2060 | 2059.7918 | SF
150 |  |  |  | (2x6) P.T Bottom track. | 126 | 126 | LF
151 |  |  |  | (2x6) Top track. | 252 | 252 | LF
| A-4.1 TO A-6.0 |  |  | (2x6) GWB EXTERIOR WALL (70 LF)
152 |  |  |  | (2x6) Wood studs @ 16" O.C | 390 | 389.4337 | LF
153 |  |  |  | (6") R-21 Batt Insulation. | 500 | 501.5649 | SF
154 |  |  |  | (5/8", 1-Layer) Gyp. Bd. One side. | 500 | 501.5649 | SF
155 |  |  |  | (1/2") APA Rated Struct. 1 EXP. 1 Plywood Sheathing. | 500 | 501.5649 | SF
156 |  |  |  | Tyvek Wrap. | 500 | 501.5649 | SF
157 |  |  |  | (2x6) P.T Bottom track. | 70 | 70 | LF
158 |  |  |  | (2x6) Top track. | 140 | 140 | LF
|  |  | 96000 | FLOORING
159 | A-4.1 TO A-6.0 |  |  | LVT Floor | 555 | 551.81 | SF
160 |  |  |  | Ceramic Tile Floor | 100 | 98.45 | SF
161 |  |  |  | Carpet Floor | 445 | 440.03 | SF
162 |  |  |  | Wall Tile | 85 | 82.36 | SF
163 |  |  |  | (6"H) Ceramic Tile Base | 33 | 32.82 | LF
164 |  |  |  | (4"H) Vinyl Base | 415 | 412.96 | LF
|  |  | 99100 | PAINTING
165 | A-4.1 TO A-6.0 |  |  | GWB Wall Paint | 4510 | 4504.6 | SF
166 |  |  |  | Existing Stucco Soffit Paint | 210 | 205.31 | SF
167 |  |  |  | Existing Roof Soffit Paint | 675 | 671.46 | SF
168 |  |  |  | GWB Ceiling Paint | 1155 | 1152.06 | SF
169 |  |  |  | Wood Batten Siding Paint | 495 | 490.9 | SF
170 |  |  |  | Single Door & Frame Paint | 8 | 8 | EA
171 |  |  |  | Double Door & Frame Paint | 3 | 3 | EA
Subtotal
|  |  | 100000 | DIVISION 10 - SPECIALTIES
172 | A-4.1 TO A-6.0 |  |  | (6'8"H) Shower / Tub Glass Wall | 10 | 9.51 | LF
173 |  |  |  | Closet Rod | 32 | 30.88 | LF
|  |  | 102813 | TOILET AND BATH ACCESSORIES
174 | A-4.1 TO A-6.0 |  |  | (36"L) Grab Bar | 1 | 1 | EA
175 |  |  |  | Toilet Tissue Dispenser | 1 | 1 | EA
176 |  |  |  | Soap Dispenser | 1 | 1 | EA
177 |  |  |  | Mirror | 1 | 1 | EA
Subtotal
|  |  | 110000 | DIVISION 11 - EQUIPMENT
178 | A-4.1 TO A-6.0 |  |  | Cooking range | 1 | 1 | EA
179 |  |  |  | Dishwasher | 1 | 1 | EA
180 |  |  |  | Refrigerator | 1 | 1 | EA
181 |  |  |  | Microwave Oven | 1 | 1 | EA
Subtotal
|  |  | 120000 | DIVISION 12 - FURNISHING
|  |  | 123661 | SOLID SURFACING COUNTERTOPS
182 | A-4.1 TO A-6.0 |  |  | Vanity Countertop | 12 | 10.99 | SF
183 |  |  |  | Solid Surface Countertop | 38 | 37.94 | SF
Subtotal
|  |  | 150000 | DIVISION 15 - HEATING, VENTILATING, AND AIR-CONDITIONING (HVAC)
184 |  |  |  | Kitchen Exhaust hood. | 1 | 1 | EA
185 |  |  |  | Kitchen Exhaust Fan. (300 CFM) | 1 | 1 | EA
186 |  |  |  | Exhaust Fan. (50 CFM) | 1 | 1 | EA
187 |  |  |  | Supply Diffuser | 2 |  | EA
188 |  |  |  | Allowances For Metal Air Ducts. (Assumed) | 30 |  | LF
Subtotal
|  |  | 150000 | DIVISION 15 - PLUMBING
189 |  |  |  | Kitchen sink | 1 | 1 | EA
190 |  |  |  | Water closet | 1 | 1 | EA
191 |  |  |  | Lavatory | 2 | 2 | EA
192 |  |  |  | Bath tub | 1 | 1 | EA
193 |  |  |  | Floor drain | 1 | 1 | EA
194 |  |  |  | Wall Cleanout | 3 | 3 | EA
195 |  |  |  | Ball Valve | 2 | 4 | EA
196 |  |  |  | SHUTT OFF VALVE | 10 | 31 | EA
DOMESTIC WATER PIPING COPPER TYPE "L"
197 |  |  |  | (1/2") COLD WATER PIPE | 35 | 35 | LF
198 |  |  |  | (1/2") HOT WATER PIPE | 28 | 28 | LF
199 |  |  |  | (3/4") COLD WATER PIPE | 20 |  | LF
200 |  |  |  | (3/4") HOT WATER PIPE | 20 |  | LF
SANITARY PIPE PVC SCH 40
201 |  |  |  | (2") SANITARY PIPE | 25 | 20 | LF
202 |  |  |  | (2") VENT PIPE | 35 |  | LF
203 |  |  |  | (3") VENT PIPE | 10 |  | LF
204 |  |  |  | (3") WASTE PIPE | 15 |  | LF
205 |  |  |  | (1-1/2") VENT PIPE | 21 |  | LF
Subtotal
|  |  | 160000 | DIVISION 16 - ELECTRICAL
206 |  |  |  | A - 4.25 Recessed Downlight - Compact Fluorescent | 12 | 12 | EA
207 |  |  |  | E - 4.25 Recessed Downlight | 2 | 2 | EA
208 |  |  |  | B - 6" Recessed Downlight / Waterproof | 1 | 1 | EA
209 |  |  |  | Surface Mounted Wall LED Fixture | 2 | 2 | EA
210 |  |  |  | Cove Strip LED Light | 4 | 4 | EA
211 |  |  |  | Door Activated Closet Device | 4 | 4 | EA
212 |  |  |  | S - Single Pole Switch | 9 | 9 | EA
213 |  |  |  | S3 - Three Way Switch | 4 | 4 | EA
214 |  |  |  | Special Purpose Receptacle | 1 | 1 | EA
215 |  |  |  | Quadplex Receptacle | 1 | 1 | EA
216 |  |  |  | GFCI Duplex Receptacle | 8 | 8 | EA
217 |  |  |  | SD - Smoke Detector | 7 | 7 | EA
218 |  |  |  | CO - Combination Monoxide Detector | 7 | 7 | EA
219 |  |  |  | WIRING & CONDUIT | 1 |  | LS
|  |  |  | Subtotal | [9 empty] | 0
|  |  |  | Total. | [9 empty] | 0
|  |  |  | Add wastage of materials | [9 empty] | 0
|  |  |  | Add Contractor's overhead & profit @ 15% | [9 empty] | 0
|  |  |  | G.Total | [9 empty] | 0
ADDENDA
Addendum Issued: NONE up to Date (09/15/2014): None
Please review any Addendum issued after Date 07/31/2023
OWNER
ARCHITECT
GUERRERO RESIDENCE