## QTO
|  | ID: | 106 (F)
BIDDER NAME:
S# | DWG # | DETAIL # | CSI NO | DESCRIPTION | QTY. | Calc. | UNIT | LABOR |  |  |  | Total Labor Cost | MATERIAL (PER UNIT) | TOTAL MATERIAL | EQUIPMENT (PER UNIT) | COMPOSITE RATE/UNIT | TOTAL COST
[8 empty] | Manhour / Unit | Total Manhours | $/HOUR | COST
|  |  | 10000 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION | 1 |  | LS
2 |  |  |  | BOND & INSURANCE | 1 |  | LS
3 |  |  |  | SUPERVISION | 1 |  | LS
4 |  |  |  | SUBMITTALS & SAMPLES | 1 |  | LS
5 |  |  |  | TEMPORARY FACILITIES & CONTROLS | 1 |  | LS
6 |  |  |  | PROJECT SCHEDULE | 1 |  | LS
7 |  |  |  | CLOSEOUT PROCEDURES | 1 |  | LS
8 |  |  |  | PERMITS | 1 |  | LS
Subtotal
|  |  | 160000 | DIVISION 16 - ELECTRICAL
LIGHT FIXTURES
8 | E101 |  |  | A - LED - 2x4 RECESSED ACRYLIC LENS LED TROFFER - HE WILLIAMS/ PT-24-L38-840-SA-DIM-UNV | 72 | 72 | EA
|  |  |  | AE - LED - 2x4 RECESSED ACRYLIC LENS LED TROFFER - HE WILLIAMS/ PT-24-L38-840-SA-DIM-UNV-EM/12W | 82 | 82 | EA
|  |  |  | D1 - LED - 4" RECESSED DOWNLIGHT - SIGNIFY/ P4RDL10940WCLZ10U | 31 | 31 | EA
|  |  |  | D1E - LED - 4" RECESSED DOWNLIGHT - SIGNIFY/ P4RDL10940WCLZ10U-CAEM6 | 16 | 16 | EA
|  |  |  | EXTERIOR WALL SCONCE | 32 | 32 | EA
|  |  |  | H1 - MODULAR HIGH BAY - H.E WILLIAMS - GH-2-L80-850-FA-DIM-UNV - 8000 NOMINAL LUMENS | 150 |  | EA
14 |  |  |  | XE - WALL MOUNT EGRESS LIGHT - IST-SA1A-727-U-T3-BK-CBP - 2980 NOMINAL LUMENS | 11 | 11 | EA
Subtotal
LIGHT CONTROLS
15 | E100 To E104 |  |  | OCCUPANCY SENSOR | 30 |  | EA
|  |  |  | OCCUPANCY DIMMER SWITCH | 17 |  | EA
|  |  |  | OCCUPANCY SWITCH | 17 |  | EA
18 |  |  |  | THREE POLE SWITCH | 2 |  | EA
RECEPTACLE
19 | E100 To E104 |  |  | DUPLEX RECEPTACLE | 85 |  | EA
20 |  |  |  | GFI DUPLEX RECEPTACLE | 38 |  | EA
21 |  |  |  | GFI DUPLEX RECEPTACLE, WP | 10 |  | EA
|  |  |  | FLOORBOX QUAD RECEPTACLE | 5 |  | EA
|  |  |  | FLOORBOX TELE/DATA OUTLET | 9 |  | EA
24 |  |  |  | Tele/Data Outlet. (Assumed) | 85 |  | EA
25 |  |  |  | TV Outlet. (Assumed) | 20 |  | EA
26 |  |  |  | JUNCTION BOX | 64 |  | EA
27 | E100 To E104 |  |  | 4" SQ x 1-1/2" D BOX w/ BKT (1/2 & 3/4 KO's) | 252 |  | EA
28 |  |  |  | 4" SQ 1G DUP RCPT COVER | 153 |  | EA
29 |  |  |  | RED WIRENUTS | 756 |  | EA
30 |  |  |  | GROUND SCREW w/ BARE PIGTAIL | 252 |  | EA
31 |  |  |  | 2G Plastic Duplex Receptacle Plate | 99 |  | EA
32 |  |  |  | 4" Square-2G Plaster Ring-5/8"D | 99 |  | EA
33 |  |  |  | 6x1/4" PAN HEAD TAPPING SCREW | 1008 |  | EA
DISCONNECT
|  |  |  | 30/3/1 Disconnect | 22 |  | EA
|  |  |  | 30/3/1/30AF Disconnect | 2 |  | EA
|  |  |  | 60/3/1 Disconnect | 1 |  | EA
37 |  |  |  | MOTOR RATED SWITCH | 30 |  | EA
PANEL
38 | E100 To E104 |  |  | ELECTRICAL PANEL "EWLP" 3PH, 4W, 150A | 1 |  | EA
39 |  |  |  | ELECTRICAL PANEL "WLP" 3PH, 4W, 200A | 1 |  | EA
40 |  |  |  | ELECTRICAL PANEL "HA" 3PH, 800A | 1 |  | EA
41 |  |  |  | ELECTRICAL PANEL "EH" 3PH, 400A (ASSUMED) | 1 |  | EA
42 |  |  |  | ElCP - ELECTRICAL PANEL | 1 |  | EA
43 |  |  |  | LCP - LIGHTING CONTROL PANEL | 1 |  | EA
BEAKERS
44 | E100 To E104 |  |  | ELECTRICAL BREAKER, 1P/20A | 159 |  | EA
45 |  |  |  | ELECTRICAL BREAKER, 3P/20A | 47 |  | EA
46 |  |  |  | ELECTRICAL BREAKER, 3P/200A | 1 |  | EA
47 |  |  |  | ELECTRICAL BREAKER, 3P/125A | 1 |  | EA
GEARS
48 |  |  |  | CT CABINET | 1 |  | EA
49 |  |  |  | UTILITY METER | 2 |  | EA
50 |  |  |  | T-LA - TRANSFORMER - 75KV | 1 |  | EA
51 |  |  |  | T-ELA - TRANSFORMER - 45KV | 1 |  | EA
52 |  |  |  | SURGE PROTECTION DEVICE | 2 |  | EA
53 |  |  |  | WIREWAY | 2 |  | EA
OTHERS
54 | E100 To E104 |  |  | 4' X 8' X 3/4" PLYWOOD BACKBOARD. (ASSUMED) | 2 |  | EA
55 |  |  |  | PHOTOCELL | 1 |  | EA
56 |  |  |  | TIMECLOCK | 1 |  | EA
57 |  |  |  | LIGHTING CONTACTOR | 1 |  | EA
58 |  |  |  | 3/4" STUB | 4 |  | EA
59 |  |  |  | 3" STUB | 3 |  | EA
60 |  |  |  | 2-1/2" STUB | 1 |  | EA
61 |  |  |  | 1" STUB | 2 |  | EA
62 |  |  |  | MISC. ALLOWANCES | 1 |  | LS
FIRE ALARM
63 | E100 To E104 |  |  | Fire Alarm Horn w/ Visual Device | 29 |  | EA
64 |  |  |  | Fire Alarm Visual Device | 13 |  | EA
65 |  |  |  | Smoke Detector | 1 |  | EA
66 |  |  |  | FIRE ALARM MANUAL PULL STATION | 1 |  | EA
67 |  |  |  | ADDRESSABLE INTELLEGENT MODULE | 2 |  | EA
68 |  |  |  | FLOW SWITCH | 1 |  | EA
69 |  |  |  | FIRE ALARM ANNUNCIATOR PANEL. (ASSUMED) | 1 |  | EA
70 |  |  |  | FIRE ALARM CONTROL PANEL. | 1 |  | EA
71 |  |  |  | VALVE SUPERVISORY | 1 |  | EA
CONDUCTORS
72 | E100 To E104 |  |  | 2#12 | 18280 |  | LF
73 |  |  |  | 2#10 | 5820 |  | LF
74 |  |  |  | 3#12 | 3720 |  | LF
75 |  |  |  | 3#10 | 315 |  | LF
76 |  |  |  | 4#1/0 | 30 |  | LF
77 |  |  |  | 3#4 | 30 |  | LF
78 |  |  |  | 3#1 | 30 |  | LF
79 |  |  |  | #3/0 | 120 |  | LF
80 |  |  |  | #12G | 22000 |  | LF
81 |  |  |  | #10G | 6135 |  | LF
82 |  |  |  | #8G | 30 |  | LF
83 |  |  |  | #6G | 60 |  | LF
84 |  |  |  | #4G | 30 |  | LF
85 |  |  |  | #12 | 1410 |  | LF
86 |  |  |  | MC-CABLE-12/3-W/GR 250FT COIL | 6680 |  | LF
87 |  |  |  | CAT. 5E (ASSUMED) | 2250 |  | LF
CONDUITS
88 | E100 To E104 |  |  | 3/4" EMT | 25325 |  | LF
89 |  |  |  | 3/4" Set Screw Steel Coupling | 2533 |  | EA
90 |  |  |  | 3/4" Set Screw Steel Connectors | 1267 |  | EA
91 |  |  |  | 3/4" 1-Hole Strap | 3166 |  | EA
92 | E100 To E104 |  |  | 1-1/4" EMT | 30 |  | LF
93 |  |  |  | 1-1/4" Set Screw Steel Coupling | 3 |  | EA
94 |  |  |  | 1-1/4" Set Screw Steel Connectors | 2 |  | EA
95 |  |  |  | 1-1/4" 1-Hole Strap | 4 |  | EA
96 | E100 To E104 |  |  | 1-1/2" EMT | 30 |  | LF
97 |  |  |  | 1-1/2" Set Screw Steel Coupling | 3 |  | EA
98 |  |  |  | 1-1/2" Set Screw Steel Connectors | 2 |  | EA
99 |  |  |  | 1-1/2" 1-Hole Strap | 4 |  | EA
100 | E100 To E104 |  |  | 2-1/2" EMT | 20 |  | LF
101 |  |  |  | 2-1/2" Set Screw Steel Coupling | 2 |  | EA
102 |  |  |  | 2-1/2" Set Screw Steel Connectors | 1 |  | EA
103 |  |  |  | 2-1/2" 1-Hole Strap | 3 |  | EA
104 | E100 To E104 |  |  | 2" EMT | 30 |  | LF
105 |  |  |  | 2" Set Screw Steel Coupling | 3 |  | EA
106 |  |  |  | 2" Set Screw Steel Connectors | 2 |  | EA
107 |  |  |  | 2" 1-Hole Strap | 4 |  | EA
108 |  |  |  | 2-1/2" PVC | 60 |  | LF
109 |  |  |  | 3" PVC | 90 |  | LF
|  |  |  | 2" PVC | 30 | 30 | LF
|  |  |  | 1" PVC | 30 | 30 | LF
112 |  |  |  | 3/4" PVC | 390 | 390 | LF
GROUNDING
113 | E100 To E104 |  |  | #2/0 Insulated Copper Grounding Electrode Conductors (Length Assumed) | 1355 |  | LF
114 |  |  |  | #4/0 Insulated Copper Grounding Electrode Conductors (Length Assumed) | 1760 |  | LF
115 |  |  |  | 6' GROUND ELECTRODE CONDUCTOR WHIP | 22 |  | EA
116 |  |  |  | "P" AIR TERMINAL | 48 |  | EA
117 |  |  |  | AIR TERMINAL | 22 |  | EA
118 |  |  |  | #3/0 Main Bonding Jumper | 1 |  | EA
119 |  |  |  | 3/4" x 10' CU Clad Steel Rod | 22 |  | EA
120 |  |  |  | (3/4"X10') GROUND TEST WELL TRIAD | 2 |  | EA
|  |  |  | Grounding Loop Tie In Bar | 4 |  | EA
122 |  |  |  | SAFETY GROUND BAR. (ASSUMED) | 1 |  | EA
123 |  |  |  | NEUTRAL BUS. (ASSUMED) | 1 |  | EA
|  |  |  | Subtotal |  |  |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  |  | Total. For Base Bid |  |  |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  |  | Add wastage of materials | [12 empty] | 0
|  |  |  | Add Contractor's overhead & profit @ 20% | [12 empty] | 0
|  |  |  | G.Total | [12 empty] | 0
ADDENDA
Addendum Issued: NONE up to Date (09/15/2014): None
Please review any Addendum issued after Date 04/25/25
OWNER
ARCHITECT
48326 STATE HIGHWAY 48 PORT ISABEL, TX 78487
RIO GRANDE LNG FACILITY - A-7003 WORKSHOP